TAKE NOTICE that the Chapter of the Cathedral Church of St Peter in Exeter applied on 9 June 2022 for approval of the following proposal:

Conservation works to the Scott presbytery floor. Summary of the application Conservation project to repair the Scott floor in situ, undertaking repointing and local replacement of damaged tiles.

Representations

Representations in writing in respect of the above proposal were received from:

Historic England, 1 July 2022, positive, but requesting further information. Decision

At a meeting of the Cathedrals Fabric Commission held on 21 July 2022 the above proposal and representations were considered and the Commission decided to approve the application subject to the following conditions: - That prior to the works being undertaken, further information will be provided to Historic England for comment and then to the FAC for agreement on the intended approach to the conservation of the encaustic tiles to explain what would trigger the replacement of a tile. This will not require a further formal application under the Measure. - That following trials of mortar repair and prior to wider mortar repairs being undertaken a report shall be provided on the results of those trials to Historic England for comment and then to the FAC for agreement of the cathedral’s choice of mortar. This will not require a further formal application under the Measure. - That prior to the installation of any replacement tile or stone, samples shall be provided for the FAC to confirm that the replacements will match the existing. This will not require a further formal application under the Measure. The reasons for the conditions being that this information is not yet available.

Signed:

Thomas Ashley Acting Secretary of the Cathedrals Fabric Commission

Dated: 8 August 2022

NOTE:

Within 7 days of receipt of this Notice the administrator of the Cathedral Church is to display a copy of it inside and outside the cathedral where it will be readily visible to the public for a period of not less than 28 days.